**Building Area**

|  |  |
| --- | --- |
|  | Area [m2] |
| Total Building Area | 1600.00 |
| Net Conditioned Building Area | 1600.00 |
| Unconditioned Building Area | 0.00 |

**End Uses**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Electricity [GJ] | Natural Gas [GJ] | Additional Fuel [GJ] | District Cooling [GJ] | District Heating [GJ] | Water [m3] |
| Heating | 0.00 | 0.00 | 0.00 | 0.00 | 0.26 | 0.00 |
| Cooling | 0.00 | 0.00 | 0.00 | 1069.36 | 0.00 | 0.00 |
| Interior Lighting | 196.43 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Exterior Lighting | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Interior Equipment | 232.60 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Exterior Equipment | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Fans | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Pumps | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Heat Rejection | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Humidification | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Heat Recovery | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Water Systems | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Refrigeration | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Generators | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
|  |  |  |  |  |  |  |
| Total End Uses | 429.03 | 0.00 | 0.00 | 1069.36 | 0.26 | 0.00 |

*Note: District heat appears to be the principal heating source based on energy usage.*   
  
**End Uses By Subcategory**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Subcategory | Electricity [GJ] | Natural Gas [GJ] | Additional Fuel [GJ] | District Cooling [GJ] | District Heating [GJ] | Water [m3] |
| Heating | General | 0.00 | 0.00 | 0.00 | 0.00 | 0.26 | 0.00 |
| Cooling | General | 0.00 | 0.00 | 0.00 | 1069.36 | 0.00 | 0.00 |
| Interior Lighting | General | 196.43 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Exterior Lighting | General | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Interior Equipment | General | 232.60 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Exterior Equipment | General | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Fans | Ventilation (simple) | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Pumps | General | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Heat Rejection | General | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Humidification | General | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Heat Recovery | General | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Water Systems | General | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Refrigeration | General | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Generators | General | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |